# Cybersecurity Controls

## 1. Introduction

This document provides a structured approach for documenting cybersecurity controls in compliance with the FDA's guidance on cybersecurity in medical devices. Cybersecurity controls are essential for mitigating security risks and ensuring the safety and effectiveness of medical devices.

## 2. Purpose and Scope

Describe the purpose of implementing cybersecurity controls for the medical device. Define the scope of security measures, including hardware, software, firmware, and network security considerations.

## 3. Categories of Cybersecurity Controls

The following categories of cybersecurity controls should be implemented to protect medical devices from cyber threats:

### 3.1 Authentication

Describe the authentication mechanisms used to ensure that only authorized users can access the device. Examples include:

- Multi-factor authentication (MFA)

- Role-based access control (RBAC)

- Biometric authentication

Windows 인증 사용

### 3.2 Authorization

Outline the access control policies that restrict user permissions based on roles and responsibilities. Consider at least privilege principles and secure access management.

Windows 인증을 사용하여, 관리자 권한 및 사용자 권한 분리

사용자 권한만 제공

### 3.3 Cryptography

Describe how encryption is used to protect sensitive data both in transit and at rest. Include details on:

- Encryption standards (e.g., AES-256, TLS 1.2/1.3)

- Key management practices

- Digital signatures for data integrity verification

Encryption standards (AES-256, TLS 1.3)

### 3.4 Code, Data, and Execution Integrity

Describe methods used to ensure that device firmware and software are protected against unauthorized modifications, including:

- Secure boot mechanisms

- Code signing and validation

- Secure update processes

작업자가 오프라인으로 업데이트 진행

Powershell에서 FasterDx 무결성 검사 (Get-FileHash <RaywattApp.exe> -Algorithm SHA-256)

Secure Boot 활성화 (부팅 시 악성코드 주입 방지)

### 3.5 Event Detection and Logging

Detail the security monitoring capabilities of the device, including:

- System logging and audit trails

- Intrusion detection and prevention mechanisms

- Log retention policies

Windows 로그 및 시스템 로그 적용

외부 침입 방어를 위한 방화벽 정책 적용

로그 삭제 정책 없음(로그는 일정 기간 뒤 삭제 해야하는지?)

### 3.6 Resiliency and Recovery

Describe how the device ensures continued operation in the event of a cyber attack. Consider:

- Automated failover and redundancy

- Secure backup and disaster recovery procedures

- Self-healing security mechanisms

사이버 공격을 막기위한 방화벽 정책 적용

데이터 백업에 대한 내용을 약관에서 안내

### 3.7 Firmware and Software Updates

Explain the process for securely updating device firmware and software to address vulnerabilities and improve functionality. Include:

- Secure update distribution channels

- Digital signature verification for updates

- User notification and rollback options

작업자가 오프라인으로 업데이트 진행

Powershell에서 FasterDx 무결성 검사 (Get-FileHash <RaywattApp.exe> -Algorithm SHA-256)

## 4. Security Testing and Validation

Outline the methods used to test and validate cybersecurity controls, including:

- Penetration testing

- Vulnerability scanning

- Security code reviews

- Compliance testing against regulatory requirements

- Penetration testing

- Vulnerability scanning

- Security code reviews

- Compliance testing against regulatory requirements

## 5. Documentation and Compliance

Describe how cybersecurity controls are documented and maintained to comply with FDA regulations and industry best practices. Include reporting requirements and compliance verification processes.