Architecture Views

Revision History

| Rev | Date | Revision History |
| --- | --- | --- |
| 00 | 2025.04.16 | First Issued. |

Contents

1.	Introduction	4

2.	Purpose and Scope	4

3.	System Architecture Overview	4

4.	Security Architecture Views	4

4.1 Hardware Architecture	4

4.2 Software Architecture	5

4.3 Network Architecture	5

4.4 Data Flow Architecture	6

5.	Security Mechanisms and Controls	7

6.	Documentation	8

- Introduction

This document provides a structured approach for documenting architecture views in compliance with the FDA's guidance on cybersecurity in medical devices. Architecture views help define the security design and structure of a medical device system, ensuring its resilience against cyber threats.

- Purpose and Scope

Describe the purpose of architecture views in the context of medical device security. Define the scope of architectural representations, including hardware, software, network, and data flow considerations.

- System Architecture Overview

Provide a high-level overview of the medical device system, including its key components, connectivity, and data flows. Include diagrams where applicable.

- Security Architecture Views

The following architecture views should be documented to illustrate the security design of the medical device:

### 4.1 Hardware Architecture

Describe the hardware components of the medical device, including:

- Processing units and memory

- Hardware security modules (HSMs)

- Secure boot mechanisms

### 4.2 Software Architecture

Provide an overview of the software components, including:

- Operating system and firmware details

- Application software modules

- Software security controls and enforcement mechanisms

### 4.3 Network Architecture

Describe how the device connects to other systems and networks, including:

- Communication protocols and encryption standards

- Firewall and intrusion detection mechanisms

- Secure data transmission paths

DICOM Server 와 LAN을 통한 연결은 TLS 1.3 사용

### 4.4 Data Flow Architecture

Illustrate how data flows between different components of the device system, including:

- Data input and output points

- Data storage and retrieval mechanisms

- Data integrity and encryption methods

- Security Mechanisms and Controls

Describe the security mechanisms used to protect the device architecture, including:

- Access control and authentication mechanisms

- Secure boot and firmware integrity verification

- Logging and monitoring systems for anomaly detection

Windows 인증 사용

Windows AppLocker 를 사용해서 화이트리스트 실행 정책 적용 (비인가 소프트웨어 실행 방지)

Secure Boot 활성화 (부팅 시 악성코드 주입 방지)

Windows Defender 사용

- Documentation

Provide documentation practices for maintaining architecture diagrams and security design records.