Software Architecture Description

Revision History

| Rev | Date | Revision History |
| --- | --- | --- |
| 00 | 2025.02.28 | First Issued. |

Contents

1. Software Systems	7

2. Software Units	7

3. Database	9

1. Software Systems

In compliance with DIN EN 62304, we subdivide our software on three levels: software systems, software components and software units.

2. Software Units

1) UI Display

- Visually presents analysis results through the User Interface (UI).

- Provides intuitive access to OCT images, 3D rendering, and analysis data.

- Designed with a Graphical User Interface (GUI) to allow medical professionals to easily view and manipulate data.

2) DB Processing

- Stores and manages analysis results and patient data in a database (DB).

- Performs functions for saving and retrieving patient OCT examination records.

3) Measurement

- Performs quantitative measurements such as vessel diameter, lesion length, and stent position in OCT images.

- Supports AI-based automatic measurement to improve analysis accuracy.

- Provides an interface for medical professionals to manually add additional measurements.

4) Image Processing

- Preprocesses and enhances OCT images, including noise removal and contrast enhancement.

5) DICOM Processing

- Stores OCT data in compliance with the DICOM standard.

6) Angio Client

- Synchronizes X-ray angiography (Angiography) data with OCT images for analysis.

- Provides vascular path tracking functionality based on angiography.

- Supports merging and interpretation of OCT images and angiography data for medical professionals.

7) Signal Processing

- Processes OCT signal data to generate high-quality images.

8) ML Processing

- Performs AI/ML-based automated lesion analysis on OCT images.

- Applies deep learning models to detect vascular contours, stents, calcium deposits, and vessel landmarks.

9) 3D Rendering

- Generates a 3D model of blood vessels based on OCT data.

- Provides visualization to intuitively identify lesion locations and vascular structures.

- Supports real-time 3D manipulation, including zoom, rotation, and cross-sectional viewing.

10) Acquisition Control

- Manages and optimizes the OCT data acquisition process.

11) Rotary Junction Control

- Controls the rotational system of the OCT catheter to ensure uniform image acquisition.

- Adjusts rotation speed to maintain optimal imaging conditions.

12) Laser Module Control

- Controls the laser module of the OCT system to optimize image quality.

- Performs laser wavelength and output adjustments, as well as signal synchronization functions.

3. Database

- Relational database: PostgreSQL v14

Template Copyright openregulatory.com. See template license.

Please don’t remove this notice even if you’ve modified contents of this template.