Software Verification & validation report

Revision History

| Rev | Date | Revision History |
| --- | --- | --- |
| 00 | 2025.02.28 | First Issued. |

Contents

1. Scope and Purpose	4

1.1 Purpose	4

1.2 Scope	4

1.3 Software Identification	4

2. Test plan	4

2.1. Software Validation Item	4

2.2. Overall Approach	4

2.3 Test Procedure and Acceptance Criteria	6

3. Test Result	6

# 1. Scope and Purpose

## 1.1 Purpose

This document provides a description of the software verification and validation results.

## 1.2 Scope

The V&V document applies only to the MCU's software verification and validation. It does not include hardware.

## 1.3 Software Identification

| Software name | FasterDx |
| --- | --- |
| Software version | 1.00.00 |
| Operating system | Windows 10 IoT Ent. |
| Programmable language | C++, C# |
| Safety Level | Class B |

# 2. Test plan

2.1. Software Validation Item

| Software Name | FasterDx |
| --- | --- |
| Software Version | 1.00.00 |
| Operating System | Windows 10 IoT Enterprise |
| Programming Language | C++, C# |

2.2. Overall Approach

In a step-by-step software validation approach, unit testing, integration testing, and system testing are performed. Unit tests and integration tests can also be performed in conjunction with system tests. Depending on the software development plan, some software items may be tested as systems. Typically, tests define inputs, criteria, and results.

- Test Type to Consider

- Hazard Test

Through risk analysis, all risks and risk control measures caused by the software are used as basic data for test application. If the software detects abnormal behavior, it also uses the error condition as a test input. Since high-risk hazards cannot be easily generated at the system level, black-box and white-box tests can be performed together.

- Error Message Handling

List all error messages such as alarms and warnings defined in the requirements specification and reflect the error conditions for them in the test.

- Startup and Shutdown Test

To make sure that the device works correctly when starting up and shutting down, write tests.

- Regression Test

When the software engineer implements a change or addition to the software, the engineer performs a regression test that analyzes the impact of the change and the impact of the addition and then reruns all the tests up to the affected area.

- Functional Test

Using software requirements specifications and system specifications, write tests to test software functionality. It considers all system behavior, including user interfaces, calibration procedures, and more.

- Static Test

Perform a code inspection on all the developed codes. Perform a code inspection on all subsequent changes.

- Unit Test

Typically, a software system is divided into several items, each of which can no longer be divided into units to design the structure. Unit testing focuses on the smallest piece of software, the unit, which can no longer be divided, and writes tests based on knowledge of the inner workings of the software so that each unit can perform the desired behavior without defects. This can be a dynamic test, which is a black-box test or a white-box test, or it can be a static test with code inspection or code analysis.

- Strategy and Approach

Use white box testing to perform unit tests. Unit testing is primarily based on the detailed design of the unit described in the design specification. Unit testing applies to all software items. If you implement a change, you must unit test it. Any undetected locations are to be dealt with using the troubleshooting process for this step.

- Integration Test

Integration testing is done to ensure that the different parts of the system work together. It can be included in the system test.

- Strategy and Approach

Each sub-software item must be integrated and tested. Integration testing focuses specifically on verifying interfaces between units and subsystems. If possible, integration testing should be performed in the actual environment in which it will be used, or in a simulated environment that best simulates the environment. If any changes are made in the integration test, regression testing should be performed.

- System Test

System testing consists mainly of functional tests to verify that the functionality of the software meets the requirements.

- Strategy and Approach

Software system testing is primarily based on software requirements specifications and software risk analysis. System testing should be performed in the target environment of the device. If a change is made in the system test, a regression test should be performed on it.

2.3 Test Procedure and Acceptance Criteria

- Unit Test

- Integration Test

- System Test

3. Test Result

The details are listed in the attachment Test Report.xlsx